## Instructions
Instructions
To plan for the lab assessment, the Building Information and Profiler helps to prioritize projects based on building needs. Building information and metrics are also collected that describe attributes of each laboratory building to aid in assessment and prioritization of Smart Labs activities.
1. Input data in the Organization Info tab to create a record of participants in Smart Labs activities.
Data in light green cells contain formulas based on other inputs.
Other cells may have drop down lists to select a choice from.
2. Input data in the Building Condition tab.
3. Input data in the Building Data tab. On the far right, under "Lab Airflow Driver Information", these boxes are to help the user understand what the ventilation "driver" is in each building: number and size of ECD (fume hood driven labs) or minimum ACH (safety) or heat load. Only one of the boxes should be checked. Based on the driver different Smart Labs strategies could be considered to reduce energy use: 1. Number and size of ECD – Consider implementing variable air volume (VAV) systems if constant air volume (CAV) systems are in place, retrorift with high performance hoods, or hibernate unused ECD, etc. 2. Minimum ACH (safety) – Conduct the laboratory ventilation risk assessment to determine if the occupied and/or unoccupied ACH can be reduced. See the Smart Labs Toolkit for worksheets and directions for completing this. 3. Heat load – Decouple ventilation rate from heat load by installing cooling in the lab such as chilled beam or fan coil.
4. Data from previous tabs will populate the Building Profile Ratings sheet for each building entered, generating a score for each building to help staff make decisions on prioritizing actions for Smart Labs.
5. The Profiler Weightings and Building Profile Description tabs are for reference only. No changes to the information in these tabs is required.
A Note on Additions
To add additional buildings, copy whole row for a room and paste below last row. Check all calculations are as expected.
Disclaimer: This tool is designed to serve as a guide and can be modified to suit your institution's needs. All calculations should be thoroughly reviewed by laboratory ventilation specialists prior to commissioning to ensure proper ventilation system design.

## Organization Info
Organization Information
Date:
Facility:
Facility Type:
Location:
Facility Stakeholders |  |  |  | LVMP Components
Role | Name | Phone Number | Email | Document | Yes/No | Notes (i.e. Goal )
Facility Manager/Director |  |  |  | Stakeholder Coordination Plan
Engineering Manager/Director |  |  |  | Facilities Sustainability Plan (i.e. energy goals, waste reduction, etc.)
Energy Manager/Director |  |  |  | Lab Building Design and Construction Guide
Facility Maintenance/Director |  |  |  | Lab Chemical Hygiene Plan
EH&S Manager/Director |  |  |  | Safety, Health and Environmental Design Guide
Sustainability Manager/Director |  |  |  | Performance Management and Operations Guide
Fire Marshall |  |  |  | Management of Change Plan
R&D (Lab) Manager/Director |  |  |  | Exposure Control Device Test and Management Plan
Building Automation Manager/Supervisor |  |  |  | Fume Hood Test and Maintenance Plan
HVAC & Controls Manager/Supervisor |  |  |  | Operations and Maintenance Management System
LVMP Coordinator |  |  |  | Personnel Training Programs
Building Airflow Management Plans
Contractors, Vendors and Support Resources |  |  |  | Lab Ventilation Risk Assessment
Role | Name | Phone Number | Email
Fume Hood, BSC, ECD Certifier
Facility Management Contractor
BAS - Controls Vendor/Contactor
Engineering Resources
Architectural Resource
TAB Resource
Environmental Health and Industrial Hygiene
Hazardous Waste

## Building Condition
Building Condition
Building Name | Building Function/Use | Year Built | Approx. Gross Size/Area (GA) (ft2) | Approx. Number of Occupants | Construction or Renovation (Yes, No, In Progress) | Smart Labs: (Yes, No, In Progress) | Asset Value: (Good, Fair, Poor) | State of Bldg. (Good, Fair, Poor) | State of Bldg. Documentation | State of Mech. Systems (Good, Fair, Poor) | EH&S Issues (Good, Fair, Poor) | Past Mech. System Renovation / RCx (Yes, No) | Last Mech. System Renovation (Date) | Past Major Lab Renovation (Yes, No) | Last Major Lab Renovation (Date) | Any Planned Renovations: (Yes, No) | Quality of Bldg. LVS Documents (Good, Fair, Poor) | Deferred Maintenance: (Yes, No) | Deferred Maintenance: Estimated $ | Facility Condition Index (FCI) | Comments or Issues:

## Building Data
Building Data
| Building Information | [5 empty] | Fiscal Year Utility Information | [5 empty] | Performance Metrics | [11 empty] | Building Systems Info & Automation | [5 empty] | Lab Information | [16 empty] | ECD Information | [10 empty] | Lab Airflow Driver Information |  |  | Building Issues or Comments
Building Name | Building Use | Year Built | Approx. Gross Area (GA) (ft2) | Approx. Assignable Area (ft2) | Approx. Number of Occupants | Climate Zone | Electric (kWh) | Gas (MCF) | Steam/MTHW (MMBtu) | CHW (MMBtu) | Water (gals) | Co-Gen | Annual Utility Use ($) | Electric kWh/ SF | Heat MMBtu / SF | CHW MMBtu / SF | Utility $ / GA (ft2) | Total Thermal Energy Use (MMBTU) | kBTU / GA (ft2) | Utilities % HVAC | Utility HVAC cost per Area ($ /ft2) | Annual Average Flow (cfm) | HVAC Flow per Area (cfm/ft2) | HVAC Cost ($ /cfm) | Type of HVAC System | BAS (Yes, No) | BAS Provider(s) | BAS Analytics | Energy Recovery | Static Pressure Reset | Lab Space (ft2) | % Lab Area | Number of Chem or Rad Labs | Number of Combo Chem/Bio Labs | Teaching Labs (Yes, No) | Number of Teaching Labs | BSL3 (+) (Yes, No) | No. BSL1 & BSL2 | Vivarium (Yes, No) | Vivarium Space (ft2) | Cleanrooms (Yes, No) | Cleanroom Space (ft2) | VAV Type (DDC, Pneumatic) | VAV Manufacturer | DCV Occupancy (Yes, No, Candidate) | DCV - Chemical (Yes, No, Candidate) | Min. Lab Design ACH | Total No. of ECDs | No. of Lab Fume Hoods (LFH) | Fume Hood Density (# of Fume Hoods/ ft2) | Fume Hood Design Opening Ht. (inches) | Fume Hood Design Velocity (fpm) | No. of VAV LFH | % VAVFume Hoods | VAV Type (DDC, Plenum) | VAV Manuf. | No. of CAV LFH | High Performance LFH (Yes, No, Candidate) | Number ECD Exhaust Dominant | Number Safety (ACH) Dominant | Number Conditioning Load Dominant
0
0
0
0
0
0
0

## Building Profile Ratings
Building Profile Ratings
| Building Information | [8 empty] | Operating Metrics |  |  |  | Space Information | [8 empty] | Exposure Control Device Information |  |  |  |  | Building Profile CategoryScore | Building Profile (A, B, C, D) | Energy Reduction Potential (ERP) | Energy Reduction Potential (ERP)
Building Name | Building Use | Year Built Weighting Factor | Gross Area (GA) Weighting Factor | State of Bldg Documenation | State of Systems | EH&S Issues | Cogen | Energy Recovery | Static Pressure Reset | Utility $ / GA (ft2) | kBTU / GA (ft2) | HVAC Flow per Area (cfm/ ft2) | HVAC Cost $ / cfm | % Lab Area | BSL3 (+) (yes,no) | Vivarium (yes, no) | Cleanrooms (yes,no) | Teaching Labs | VAV Type (DDC, Pneumatic) | DCV Occupancy (Yes, No, Candidate) | DCV - Chemical (Yes, No, Candidate) | Min. Lab Design ACH | Total No. of ECDs | No. of Lab Fume Hoods (LFH) | Fume Hood Density G ft2 / No. | Fume Hood Design Velocity (fpm) | % VAV Fume Hoods
[28 empty] | 0 |  | 0
[27 empty] | \ | 0 |  | 0
[28 empty] | 0 |  | 0
[28 empty] | 0 |  | 0
[28 empty] | 0 |  | 0
[28 empty] | 0 |  | 0
[28 empty] | 0 |  | 0
[28 empty] | 0 |  | 0
[28 empty] | 0 |  | 0
[28 empty] | 0 |  | 0
[28 empty] | 0 |  | 0
[28 empty] | 0 |  | 0
[28 empty] | 0 |  | 0
[28 empty] | 0 |  | 0
[28 empty] | 0 |  | 0
[28 empty] | 0 |  | 0
[28 empty] | 0 |  | 0
[28 empty] | 0 |  | 0
[28 empty] | 0 |  | 0
[28 empty] | 0 |  | 0

## Profiler Weightings
Profiler Weightings: For Reference
| Ranges and Profile Category Ratings |  |  |  |  | Weighting Factor | Max Score | Energy Reduction Potential (ERP) |  | Lookup Table for Category Ranges
Profile Parameters | 1 | 2 | 3 | 4 | 5 |  |  |  | Profile Parameters | 1 | 2 | 3 | 4 | 5
Year Built | >2010 | 2005 - 2010 | 1990 - 2005 | 1975 - 1990 | < 1975 |  | 5 |  | Year Built | 9999 | 2010 | 2005 | 1990 | 1975
Gross Area (GA) | <50k ft2 | 50-100 ft2 | 100-150 ft2 | 150-250 ft2 | >250k ft2 |  | 5 |  | Gross Area (GA) | 0 | 50000 | 100000 | 150000 | 250000
State of Bldg Documenation | Good | Fair | Poor |  |  |  | 3 |  | State of Bldg Documenation | Good | Fair | Poor
State of Systems | Good |  | Fair |  | Poor |  | 5 |  | State of Systems | Good |  | Fair |  | Poor
EH&S Issues | Good |  | Fair |  | Poor |  | 5 |  | EH&S Issues | Good |  | Fair |  | Poor
Cogen | Yes |  | No |  |  |  | 3 |  | Cogen | Yes |  | No
Energy Recovery | Yes |  | No |  |  |  | 3 | Yes | Energy Recovery | Yes |  | No
Static Pressure Reset | Yes |  |  | No |  |  | 4 | Yes | Static Pressure Reset | Yes |  |  | No
Utility $ / GA (ft2) | $2-4/ft2 | $4-6/ft2 | $6-8/ft2 | $8-10/ft2 | >10 |  | 5 |  | Utility $ / GA (ft2) | 2 | 4 | 6 | 8 | 10
kBTU / GA (ft2) | <150k | 150k - 300k | 300k-500k | 500k-800k | >800k |  | 5 | Yes | kBTU / GA (ft2) | 0 | 150 | 300 | 500 | 800
HVAC Flow (cfm)/GA (ft2) | <0.25 /ft2 | 0.25 - 0.5 /ft2 | 0.5 - 0.75 /ft2 | 0.75 - 1.0 /ft2 | >1.0 /ft2 |  | 5 | Yes | HVAC Flow (cfm)/GA (ft2) | 0 | 0.25 | 0.5 | 0.75 | 1
HVAC Cost $ /cfm | < $2/cfm | $2-4/cfm | $4-6/cfm | $6-8/cfm | >$8/cfm |  | 5 |  | HVAC Cost $ /cfm | 0 | 2 | 4 | 6 | 8
% Lab Area | >80% | 60-80 | 40-60 | 20-40 | <20% |  | 5 | Yes | % Lab Area | 100% | 80% | 60% | 40% | 20%
BSL3 (+) (yes,no) | No | Yes |  |  |  |  | 2 |  | BSL3 (+) (yes,no) | No | Yes
Vivarium (yes, no) | No |  | Yes |  |  |  | 3 |  | Vivarium (yes, no) | No |  | Yes
Cleanrooms (yes,no) | No |  | Yes |  |  |  | 3 |  | Cleanrooms (yes,no) | No |  | Yes
Teaching Labs | No | Yes |  |  |  |  | 2 |  | Teaching Labs | No | Yes
VAV Type (DDC, Pneumatic) | DDC |  |  |  | Pneumatic |  | 5 |  | VAV Type (DDC, Pneumatic) | DDC |  |  |  | Pneumatic
DCV Occupancy (Yes, No) | Yes | Candidate | No |  |  |  | 3 | Yes | DCV Occupancy (Yes, No) | Yes | Candidate | No
DCV - Chemical (Yes, No) | Yes | Candidate | No |  |  |  | 3 | Yes | DCV - Chemical (Yes, No) | Yes | Candidate | No
Min. Lab Design ACH | < 4 ACH | 4 - 6 ACH | 6 - 8 ACH | 8 - 10 ACH | > 10 ACH |  | 5 | Yes | Min. Lab Design ACH | 0 | 4 | 6 | 8 | 10
Total No. of ECDs | <30 | 30-50 | 50-100 | >100 | >200 |  | 5 |  | Total No. of ECDs | 0 | 30 | 50 | 100 | 200
No. of Lab Fume Hoods (LFH) | < 10 | 10-30 | 30-50 | 50-100 | > 100 |  | 5 | Yes | No. of Lab Fume Hoods (LFH) | 0 | 10 | 30 | 50 | 100
Fume Hood Density G ft2 / No. | >10,000 | 3,000 - 10,000 | 2,000 - 3,000 | 1,000 - 2,000 | < 1000 |  | 5 | Yes | Fume Hood Density G ft2 / No. | 10000 | 3000 | 2000 | 1000 | 0
Fume Hood Design Velocity (fpm) | 60 | 80 | 100 |  |  |  | 3 | Yes | Fume Hood Design Velocity (fpm) | 60 | 80 | 100
% VAV Fume Hoods | >80% | 60-80% | 40-60% | 20-40% | < 20% |  | 5 | Yes | % VAV Fume Hoods | 100% | 80% | 60% | 40% | 20%
[6 empty] | Total Possible Profile Score | 107
[6 empty] | ERP Possible Score | 51 | 12.75
Building Profile Category | A | B | C | D |  |  |  |  | Building Profile Category | A | B | C | D
Range | 0-25 | 25-50 | 50-75 | >75 |  |  |  |  | Range | 0 | 25 | 50 | 75
Energy Reduction Potential (ERP) | Negligible | Low | Moderate | High |  |  |  |  | Energy Reduction Potential (ERP) | Negligible | Low | Moderate | High
Range | 0-10 | 10-25 | 25-40 | >40 |  |  |  |  | Range | 0 | 10 | 25 | 40
Drop Down Lists
Yes No IP | Good Fair Poor | Yes No | Yes No Candidate | A B C D | VAV Type | Climate Zone
Yes | Good | Yes | Yes | A | DDC | 1A Very Hot - Humid (Miami-FL)
No | Fair | No | No | B | Pneumatic | 2A Hot - Humid (Houston-TX)
In Progress | Poor |  | Candidate | C |  | 2B Hot - Dry (Phoenix-AZ)
|  |  |  | D |  | 3A Warm - Humid (Memphis-TN)
3B Warm - Dry (El Paso-TX)
3C Warm - Marine (San Francisco-CA)
4A Mixed - Humid (Baltimore-MD)
4B Mixed - Dry (Albuquerque-NM)
4C Mixed - Marine (Salem-OR)
5A Cool - Humid (Chicago-IL)
5B Cool - Dry (Boise-ID)
6A Cold - Humid (Burlington-VT)
6B Cold - Dry (Helena-MT)
7 Very Cold (Duluth-MN)
8 Subarctic (Fairbanks-AK)

## Bldg Profile Description
Building Profile
Category A | High/Known Energy Reduction Potential (ERP)
Good Documentation and Easy Measurement &Validation
Prescriptive ECMs
Predictable Level of Effort
No/Low Engineering
No Demolition / Minor System Modifications
High BOC
Category B | High/Known Energy Reduction Potential (ERP)
ECMs - Combination Prescriptive plus others
Marginal Documentation
Low to Moderate Engineering
No demolition, but unknown LOE (<12 months)
Moderate to High BOC
Category C | Low to High ERP (Questionable)
Poor Documentation
Unknown ECMs until Study
Low to High Engineering
Demolition / Replacement Likely
Low to Moderate BOC
High LOE (>12 months)
Category D | No/Low ERP
No/Low Opportunities & Returns
Major Demolition / Modifications
High LOE (>12 months) (Avoided Costs)